## Contents
Sheet Name | Description
Assumptions | Divider page for various assumptions fed into the model
Energy demand assumptions
Total annual energy demand | Assumed total aggregate demand including EVs and heat
Electricity Demand | Assumed aggregate demand, sample half-hourly demand and seasonal demand
EV demand | Assumed electricity demand from EVs, charging behaviour of fleet
Heat demand | Assumed electricity demand from heat
Commodity assumptions
Carbon targets | Assumed carbon constraints in each scenario
Carbon price | Assumed carbon price
Fossil fuel prices | Assumed fossil fuel prices
Hydrogen fuel prices | Assumed costs and parameters for producing hydrogen via gas reformation and electrolysis
Technology assumptions
Nuclear | Assumed nuclear timeline
Interconnectors | Assumed interconnector capacity and timeline
EVs | Assumed EV fleet size
Renewable & nuclear costs | Assumed capital and operational costs for renewables and nuclear
Storage costs | Assumed capital and operational costs for electrochemical storage
CCS | Assumed costs and operating parameters for gas CCS and biomass CCS
Hydrogen turbines | Assumed costs and operating parameters for hydrogen turbines
Discount rates | Assumed discount rates by technology
Inflation | Assumed inflation

## Energy Demand Assumptions
Back to Contents
This sheet is intentionally left blank.

## Total annual energy demand
Back to Contents
|  | Hydrogen/greener gas |  |  |  |  | Heat electrification
| Year | Annual base electricity demand net of heat and transport (TWh) | Annual electricity demand from heat (TWh) | Annual electricity demand from EVs (TWh) | Total annual electricity demand (TWh) | Year | Annual base electricity demand net of heat and transport (TWh) | Annual electricity demand from heat (TWh) | Annual electricity demand from EVs (TWh) | Total annual electricity demand (TWh)
| 2020 | 327 | 1.32 | 1.45 | 329.77 | 2020 | 327 | 1 | 1.45 | 329.45
| 2021 | 322.814 | 1.704 | 2.49 | 327.008 | 2021 | 323.968 | 7.27 | 2.49 | 333.728
| 2022 | 320.814 | 2.088 | 3.92 | 326.822 | 2022 | 321.968 | 13.53 | 3.92 | 339.418
| 2023 | 318.814 | 2.472 | 6.01 | 327.296 | 2023 | 319.968 | 19.79 | 6.01 | 345.768
| 2024 | 316.814 | 2.856 | 8.82 | 328.49 | 2024 | 317.968 | 26.05 | 8.82 | 352.838
| 2025 | 314.814 | 3.24 | 12.23 | 330.284 | 2025 | 315.968 | 32.32 | 12.23 | 360.518
| 2026 | 314.776 | 3.8 | 16.27 | 334.846 | 2026 | 316.414 | 38.68 | 16.27 | 371.364
| 2027 | 315.776 | 4.36 | 21.07 | 341.206 | 2027 | 317.414 | 45.03 | 21.07 | 383.514
| 2028 | 315.776 | 4.92 | 26.07 | 346.766 | 2028 | 317.414 | 51.39 | 26.07 | 394.874
| 2029 | 316.776 | 5.48 | 31.88 | 354.136 | 2029 | 318.414 | 57.75 | 31.88 | 408.044
| 2030 | 317.776 | 6.04 | 38.3 | 362.116 | 2030 | 319.414 | 64.11 | 38.3 | 421.824
| 2031 | 318.316 | 7.132 | 44.87 | 370.318 | 2031 | 319.706 | 75.56 | 44.87 | 440.136
| 2032 | 319.316 | 8.224 | 51.05 | 378.59 | 2032 | 320.706 | 87.01 | 51.05 | 458.766
| 2033 | 319.316 | 9.316 | 59.22 | 387.852 | 2033 | 320.706 | 98.46 | 59.22 | 478.386
| 2034 | 320.316 | 10.408 | 67.32 | 398.044 | 2034 | 321.706 | 109.91 | 67.32 | 498.936
| 2035 | 321.316 | 11.5 | 72.8 | 405.616 | 2035 | 322.706 | 121.36 | 72.8 | 516.866
| 2036 | 325.384 | 11.996 | 77.76 | 415.14 | 2036 | 326.396 | 125.52 | 77.76 | 529.676
| 2037 | 327.384 | 12.492 | 81.62 | 421.496 | 2037 | 328.396 | 129.68 | 81.62 | 539.696
| 2038 | 329.384 | 12.988 | 84.79 | 427.162 | 2038 | 330.396 | 133.84 | 84.79 | 549.026
| 2039 | 331.384 | 13.484 | 87.2 | 432.068 | 2039 | 332.396 | 138.01 | 87.2 | 557.606
| 2040 | 333.384 | 13.98 | 88.9 | 436.264 | 2040 | 334.396 | 142.17 | 88.9 | 565.466
| 2041 | 336.662 | 14.396 | 90.02 | 441.078 | 2041 | 336.998 | 142.82 | 90.02 | 569.838
| 2042 | 338.662 | 14.812 | 90.77 | 444.244 | 2042 | 338.998 | 143.48 | 90.77 | 573.248
| 2043 | 340.662 | 15.228 | 91.23 | 447.12 | 2043 | 340.998 | 144.13 | 91.23 | 576.358
| 2044 | 342.662 | 15.644 | 91.48 | 449.786 | 2044 | 342.998 | 144.79 | 91.48 | 579.268
| 2045 | 344.662 | 16.06 | 91.6 | 452.322 | 2045 | 344.998 | 145.44 | 91.6 | 582.038
| 2046 | 346.672 | 16.386 | 91.61 | 454.668 | 2046 | 346.998 | 146.1 | 91.61 | 584.708
| 2047 | 349.672 | 16.712 | 91.55 | 457.934 | 2047 | 349.998 | 146.76 | 91.55 | 588.308
| 2048 | 351.672 | 17.038 | 91.42 | 460.13 | 2048 | 351.998 | 147.43 | 91.42 | 590.848
| 2049 | 354.672 | 17.364 | 91.25 | 463.286 | 2049 | 354.998 | 148.09 | 91.25 | 594.338
| 2050 | 356.672 | 17.69 | 91.03 | 465.392 | 2050 | 356.998 | 148.75 | 91.03 | 596.778
| Source: Aurora Energy Research, BEIS, NIC, Element Energy |  |  |  |  | Source: Aurora Energy Research, BEIS, NIC, Element Energy

## Electricity Demand
Back to Contents
|  |  |  | 1st Jan half hourly electricity demand net of heat and transport (MW) | [8 empty] | Monthly electricity demand net of heat and transport (MW)
| NIC annual electricity demand net of heat and transport |  |  | Hydrogen/greener gas |  |  |  | Heat electrification |  |  |  |  | Hydrogen/greener gas |  | Heat electrification
| Year | Average electricity demand (TWh) | HH | 2020 | 2030 | 2040 | 2050 | 2020 | 2030 | 2040 | 2050 | Month | 2020 | 2050 | 2020 | 2050
| 2020 | 327 | 1 | 32230.9 | 31345.3 | 32729.9 | 35112.13 | 32230.9 | 31506.88 | 32829.25 | 35144.22 | January | 43119.49 | 47158.69 | 43119.49 | 47201.79
| 2021 | 325 | 2 | 32230.9 | 31345.3 | 32729.9 | 35112.13 | 32230.9 | 31506.88 | 32829.25 | 35144.22 | February | 43011.68 | 47043.7 | 43011.68 | 47086.7
| 2022 | 323 | 3 | 32897.43 | 31989.87 | 33399.1 | 35830.04 | 32897.43 | 32154.76 | 33500.48 | 35862.79 | March | 42190.87 | 46146.33 | 42190.87 | 46188.51
| 2023 | 321 | 4 | 32897.43 | 31989.87 | 33399.1 | 35830.04 | 32897.43 | 32154.76 | 33500.48 | 35862.79 | April | 37650.77 | 41179.05 | 37650.77 | 41216.69
| 2024 | 319 | 5 | 32281.73 | 31413.78 | 32821.36 | 35210.24 | 32281.73 | 31575.7 | 32920.99 | 35242.42 | May | 33624.67 | 36776.43 | 33624.67 | 36810.04
| 2025 | 317 | 6 | 32281.73 | 31413.78 | 32821.36 | 35210.24 | 32281.73 | 31575.7 | 32920.99 | 35242.42 | June | 32643.62 | 35702.91 | 32643.62 | 35735.55
| 2026 | 318 | 7 | 30127.77 | 29373.87 | 30748.88 | 32986.92 | 30127.77 | 29525.28 | 30842.22 | 33017.07 | July | 33114.01 | 36217.63 | 33114.01 | 36250.74
| 2027 | 319 | 8 | 30127.77 | 29373.87 | 30748.88 | 32986.92 | 30127.77 | 29525.28 | 30842.22 | 33017.07 | August | 32008.13 | 35008.86 | 32008.13 | 35040.86
| 2028 | 319 | 9 | 28120.49 | 27473.84 | 28819.52 | 30917.13 | 28120.49 | 27615.46 | 28907 | 30945.39 | September | 34420.79 | 37646.15 | 34420.79 | 37680.56
| 2029 | 320 | 10 | 28120.49 | 27473.84 | 28819.52 | 30917.13 | 28120.49 | 27615.46 | 28907 | 30945.39 | October | 35751.24 | 39101.45 | 35751.24 | 39137.19
| 2030 | 321 | 11 | 26372.82 | 25825.39 | 27151.93 | 29128.17 | 26372.82 | 25958.51 | 27234.35 | 29154.79 | November | 40028.32 | 43780.82 | 40028.32 | 43820.84
| 2031 | 322 | 12 | 26372.82 | 25825.39 | 27151.93 | 29128.17 | 26372.82 | 25958.51 | 27234.35 | 29154.79 | December | 39229.1 | 43010.25 | 39229.1 | 43049.56
| 2032 | 323 | 13 | 25797.71 | 25293.55 | 26625.39 | 28563.3 | 25797.71 | 25423.93 | 26706.21 | 28589.41 | Source: Aurora Energy Research
| 2033 | 323 | 14 | 25797.71 | 25293.55 | 26625.39 | 28563.3 | 25797.71 | 25423.93 | 26706.21 | 28589.41
| 2034 | 324 | 15 | 26355.64 | 25836.57 | 27192.83 | 29172.05 | 26355.64 | 25969.74 | 27275.38 | 29198.71
| 2035 | 325 | 16 | 26355.64 | 25836.57 | 27192.83 | 29172.05 | 26355.64 | 25969.74 | 27275.38 | 29198.71
| 2036 | 327 | 17 | 26581.85 | 26060.95 | 27431.73 | 29428.33 | 26581.85 | 26195.28 | 27515 | 29455.23
| 2037 | 329 | 18 | 26581.85 | 26060.95 | 27431.73 | 29428.33 | 26581.85 | 26195.28 | 27515 | 29455.23
| 2038 | 331 | 19 | 27208.59 | 26663.17 | 28052.91 | 30094.72 | 27208.59 | 26800.61 | 28138.06 | 30122.23
| 2039 | 333 | 20 | 27208.59 | 26663.17 | 28052.91 | 30094.72 | 27208.59 | 26800.61 | 28138.06 | 30122.23
| 2040 | 335 | 21 | 29773.83 | 29106.31 | 30549.86 | 32773.41 | 29773.83 | 29256.34 | 30642.59 | 32803.37
| 2041 | 337 | 22 | 29773.83 | 29106.31 | 30549.86 | 32773.41 | 29773.83 | 29256.34 | 30642.59 | 32803.37
| 2042 | 339 | 23 | 32520.03 | 31718.59 | 33216.23 | 35633.86 | 32520.03 | 31882.09 | 33317.06 | 35666.43
| 2043 | 341 | 24 | 32520.03 | 31718.59 | 33216.23 | 35633.86 | 32520.03 | 31882.09 | 33317.06 | 35666.43
| 2044 | 343 | 25 | 34568.49 | 33664.29 | 35199.15 | 37761.1 | 34568.49 | 33837.81 | 35306 | 37795.62
| 2045 | 345 | 26 | 34568.49 | 33664.29 | 35199.15 | 37761.1 | 34568.49 | 33837.81 | 35306 | 37795.62
| 2046 | 347 | 27 | 35885.55 | 34915.54 | 36474.62 | 39129.41 | 35885.55 | 35095.52 | 36585.34 | 39165.18
| 2047 | 350 | 28 | 35885.55 | 34915.54 | 36474.62 | 39129.41 | 35885.55 | 35095.52 | 36585.34 | 39165.18
| 2048 | 352 | 29 | 36103.45 | 35120.26 | 36680.84 | 39350.63 | 36103.45 | 35301.29 | 36792.18 | 39386.6
| 2049 | 355 | 30 | 36103.45 | 35120.26 | 36680.84 | 39350.63 | 36103.45 | 35301.29 | 36792.18 | 39386.6
| 2050 | 357 | 31 | 36430.98 | 35428.98 | 36992.91 | 39685.42 | 36430.98 | 35611.6 | 37105.2 | 39721.69
| Source: NIC, BEIS |  | 32 | 36430.98 | 35428.98 | 36992.91 | 39685.42 | 36430.98 | 35611.6 | 37105.2 | 39721.69
|  |  | 33 | 37418.37 | 36366.46 | 37947.92 | 40709.94 | 37418.37 | 36553.91 | 38063.11 | 40747.15
|  |  | 34 | 37418.37 | 36366.46 | 37947.92 | 40709.94 | 37418.37 | 36553.91 | 38063.11 | 40747.15
|  |  | 35 | 41738.36 | 40474.8 | 42140.28 | 45207.44 | 41738.36 | 40683.43 | 42268.2 | 45248.76
|  |  | 36 | 41738.36 | 40474.8 | 42140.28 | 45207.44 | 41738.36 | 40683.43 | 42268.2 | 45248.76
|  |  | 37 | 43973.19 | 42602.41 | 44313.87 | 47539.23 | 43973.19 | 42822.01 | 44448.38 | 47582.68
|  |  | 38 | 43973.19 | 42602.41 | 44313.87 | 47539.23 | 43973.19 | 42822.01 | 44448.38 | 47582.68
|  |  | 39 | 42879.44 | 41568.7 | 43265.92 | 46415.01 | 42879.44 | 41782.97 | 43397.26 | 46457.43
|  |  | 40 | 42879.44 | 41568.7 | 43265.92 | 46415.01 | 42879.44 | 41782.97 | 43397.26 | 46457.43
|  |  | 41 | 41166.06 | 39949.58 | 41624.75 | 44654.38 | 41166.06 | 40155.5 | 41751.1 | 44695.2
|  |  | 42 | 41166.06 | 39949.58 | 41624.75 | 44654.38 | 41166.06 | 40155.5 | 41751.1 | 44695.2
|  |  | 43 | 39052.11 | 37952.55 | 39601.19 | 42483.55 | 39052.11 | 38148.18 | 39721.4 | 42522.38
|  |  | 44 | 39052.11 | 37952.55 | 39601.19 | 42483.55 | 39052.11 | 38148.18 | 39721.4 | 42522.38
|  |  | 45 | 36793.27 | 35819.94 | 37441.64 | 40166.81 | 36793.27 | 36004.58 | 37555.3 | 40203.52
|  |  | 46 | 36793.27 | 35819.94 | 37441.64 | 40166.81 | 36793.27 | 36004.58 | 37555.3 | 40203.52
|  |  | 47 | 34057.87 | 33233.22 | 34817.72 | 37351.91 | 34057.87 | 33404.52 | 34923.41 | 37386.05
|  |  | 48 | 34057.87 | 33233.22 | 34817.72 | 37351.91 | 34057.87 | 33404.52 | 34923.41 | 37386.05
Source: Aurora Energy Research, NIC, BEIS

## EV demand
Back to Contents
EV charging behaviour (% of fleet)
| Year | Annual EV energy demand (TWh) | Consumer behaviour based charging | Time-of-use-tarrif based charging | Smart: Market price responsive charging
| 2020 | 1.45 | 94% | 6% | 0%
| 2021 | 2.49 | 92% | 8% | 0%
| 2022 | 3.92 | 89% | 11% | 0%
| 2023 | 6.01 | 86% | 14% | 0%
| 2024 | 8.82 | 83% | 17% | 0%
| 2025 | 12.23 | 80% | 20% | 0%
| 2026 | 16.27 | 78% | 17% | 5%
| 2027 | 21.07 | 75% | 18% | 7%
| 2028 | 26.07 | 72% | 19% | 10%
| 2029 | 31.88 | 69% | 19% | 12%
| 2030 | 38.3 | 66% | 20% | 14%
| 2031 | 44.87 | 63% | 20% | 16%
| 2032 | 51.05 | 61% | 21% | 19%
| 2033 | 59.22 | 58% | 21% | 21%
| 2034 | 67.32 | 55% | 22% | 23%
| 2035 | 72.8 | 52% | 22% | 26%
| 2036 | 77.76 | 49% | 23% | 28%
| 2037 | 81.62 | 47% | 23% | 30%
| 2038 | 84.79 | 44% | 24% | 33%
| 2039 | 87.2 | 41% | 24% | 35%
| 2040 | 88.9 | 38% | 25% | 37%
| 2041 | 90.02 | 35% | 25% | 39%
| 2042 | 90.77 | 33% | 26% | 42%
| 2043 | 91.23 | 30% | 26% | 44%
| 2044 | 91.48 | 27% | 27% | 46%
| 2045 | 91.6 | 24% | 27% | 49%
| 2046 | 91.61 | 21% | 28% | 51%
| 2047 | 91.55 | 18% | 28% | 53%
| 2048 | 91.42 | 16% | 29% | 55%
| 2049 | 91.25 | 13% | 29% | 58%
| 2050 | 91.03 | 10% | 30% | 60%
| Source: Aurora Energy Research, NIC |  | Source: Aurora Energy Research
Includes EV cars and EV vans

## Heat demand
Back to Contents
| Heat electrification | [5 empty] | Hydrogen/Greener Gas
|  | Peak electricity demand (kW): Electrification heat pump scenario | [5 empty] | Peak electricity demand (kW): Hydrogen led + off grid biomass
| Year | Building (kW) | DH (kW) | Hydrogen (kW) | Total (kW) | Increase (kW) | Year | Building (kW) | DH (kW) | Hydrogen (kW) | Total (kW) | Increase (kW)
| 2020 | 6928932 | - | - | 6928932 | 6928932 | 2020 | 2268541 | 182647.34 | 0 | 2451188.5134 | 2451188.5134
| 2025 | 12193176 | - | - | 12193176 | 5264244 | 2025 | 1821400 | 579831.3 | 0 | 2401231.6323 | 0
| 2030 | 21646533 | - | - | 21646533 | 9453357 | 2030 | 1186798 | 1221209.13 | 0 | 2408007.3128 | 0
| 2035 | 38879655 | - | - | 38879655 | 17233122 | 2035 | 648494 | 2689538.81 | 0 | 3338032.4325 | 886843.919
| 2040 | 45232919 | - | - | 45232919 | 6353264 | 2040 | 256516 | 3508880.36 |  | 3765396.4599 | 427364.0274
| 2045 | 46266363 | - | - | 46266363 | 1033444 | 2045 | 126429 | 4382169.88 |  | 4508598.7868 | 743202.3269
| 2050 | 47311257 | - | - | 47311257 | 1044895 | 2050 | - | 5065691.24 |  | 5065691.2362 | 557092.4494
| Source: Element Energy | [5 empty] | Source: Element Energy
Number of heat pumps used in the electrification scenario
| Electrification scenario |  | New + Existing (Medium cost EE)
| Heat pumps deployed in 2050 (millions) | Domestic (existing) | 25.9
|  | Non-domestic (existing) | 1.7
|  | Domestic (new) | 4.5
|  | Non-domestic (new) | 0.7
| Heat pumps deployed in 2030 (millions) | Domestic (existing) | 10.1
|  | Non-domestic (existing) | 1
|  | Domestic (new) | 1.8
|  | Non-domestic (new) | 0.2
Source: Element Energy

## Commodity Assumptions
Back to Contents
This sheet is intentionally left blank.

## Carbon targets
Back to Contents
Carbon allowance (MtCO2e)
| Year | CCC's 5th carbon budget: central | Aurora's linear extrapolation to 8 MtCO2e (Heat electrification) | Aurora's linear extrapolation to 2.9 MtCO2e (Heat electrification) | Aurora's linear extrapolation to 1 MtCO2e (Hydrogen/Greener Gas)
| 2020 | 76.2
| 2021 | 72
| 2022 | 67.3
| 2023 | 62.9
| 2024 | 58.8
| 2025 | 54
| 2026 | 49.7
| 2027 | 45.2
| 2028 | 40.7
| 2029 | 36.6
| 2030 | 32
| 2031 | 31.3
| 2032 | 30.6
| 2033 | 29.9
| 2034 | 29.3
| 2035 | 28.5 | 28.5 | 28.5 | 28.5
| 2036 |  | 27.1333 | 26.8 | 26.7
| 2037 |  | 25.7667 | 25.1 | 24.8
| 2038 |  | 24.4 | 23.4 | 23
| 2039 |  | 23.0333 | 21.7 | 21.2
| 2040 |  | 21.6667 | 20 | 19.3
| 2041 |  | 20.3 | 18.3 | 17.5
| 2042 |  | 18.9333 | 16.6 | 15.7
| 2043 |  | 17.5667 | 14.9 | 13.8
| 2044 |  | 16.2 | 13.1 | 12
| 2045 |  | 14.8333 | 11.4 | 10.2
| 2046 |  | 13.4667 | 9.7 | 8.3
| 2047 |  | 12.1 | 8 | 6.5
| 2048 |  | 10.7333 | 6.3 | 4.7
| 2049 |  | 9.3667 | 4.6 | 2.8
| 2050 |  | 8 | 2.9 | 1
Source: CCC, NIC, Aurora

## Carbon price
Back to Contents
Carbon price (2016 £/tonne)
| Year | EU ETS | Carbon Price Support (CPS) | Total (Carbon price floor - CPF)
| 2020 | 21.89 | 16.87 | 38.76
| 2021 | 21.69 | 9.43 | 31.12
| 2022 | 21.55 | 9.59 | 31.14
| 2023 | 21.56 | 9.58 | 31.14
| 2024 | 21.56 | 9.57 | 31.13
| 2025 | 21.64 | 9.48 | 31.12
| 2026 | 22.26 | 9.47 | 31.73
| 2027 | 22.87 | 9.46 | 32.33
| 2028 | 24.15 | 8.77 | 32.92
| 2029 | 25.9 | 7.62 | 33.52
| 2030 | 27.05 | 7.07 | 34.12
| 2031 | 28.2 | 6.52 | 34.72
| 2032 | 29.35 | 5.97 | 35.32
| 2033 | 30.5 | 5.42 | 35.92
| 2034 | 31.65 | 4.86 | 36.51
| 2035 | 32.79 | 4.31 | 37.1
| 2036 | 33.94 | 3.76 | 37.7
| 2037 | 35.08 | 3.21 | 38.29
| 2038 | 36.23 | 2.66 | 38.89
| 2039 | 37.38 | 2.11 | 39.49
| 2040 | 38.53 | 1.56 | 40.09
Source: Aurora Energy Research

## Fossil fuel prices
Back to Contents
|  | 2017 BEIS Coal fossil fuel price assumptions |  |  |  | 2017 BEIS Gas fossil fuel price assumptions
| Year | Central: 2018$/tonne | Central: 2018£/tonne | Central: 2016£/tonne | Year | Central: 2018p/therm | Central: 2018£/MMBtu | Central: 2016£/MMBtu
| 2010 | 106 | 74.5659 | 70.8388 | 2010 | 48 | 4.8 | 4.5601
| 2011 | 136 | 95.6695 | 90.8876 | 2011 | 63 | 6.3 | 5.9851 | Currency conversion | £:USD | USD:£
| 2012 | 102 | 71.7521 | 68.1657 | 2012 | 66 | 6.6 | 6.2701 | Bank of England (2022) | 1.4216 | 0.70345
| 2013 | 89 | 62.6073 | 59.4779 | 2013 | 73 | 7.3 | 6.9351
| 2014 | 80 | 56.2762 | 53.4633 | 2014 | 53 | 5.3 | 5.0351 | BEIS hold the OBR $/£ exchange rate constant at its level at the end of the OBR medium-term forecast (2022). Used to convert Gas Long-run anchor price from USD to GBP
| 2015 | 60 | 42.2071 | 40.0975 | 2015 | 45 | 4.5 | 4.2751
| 2016 | 62 | 43.614 | 41.434 | 2016 | 36 | 3.6 | 3.4201
| 2017 | 86 | 60.4969 | 57.473 | 2017 | 46 | 4.6 | 4.3701
| 2018 | 90 | 63.3107 | 60.1462 | 2018 | 57 | 5.7 | 5.4151
| 2019 | 86 | 60.4969 | 57.473 | 2019 | 53 | 5.3 | 5.0351
| 2020 | 86 | 60.4969 | 57.473 | 2020 | 48 | 4.8 | 4.5601
| 2021 | 86 | 60.4969 | 57.473 | 2021 | 49 | 4.9 | 4.6551
| 2022 | 86 | 60.4969 | 57.473 | 2022 | 51 | 5.1 | 4.8451
| 2023 | 86 | 60.4969 | 57.473 | 2023 | 52 | 5.2 | 4.9401
| 2024 | 86 | 60.4969 | 57.473 | 2024 | 54 | 5.4 | 5.1301
| 2025 | 86 | 60.4969 | 57.473 | 2025 | 56 | 5.6 | 5.3201
| 2026 | 87 | 61.2003 | 58.1413 | 2026 | 57 | 5.7 | 5.4151
| 2027 | 87 | 61.2003 | 58.1413 | 2027 | 59 | 5.9 | 5.6051
| 2028 | 87 | 61.2003 | 58.1413 | 2028 | 60 | 6 | 5.7001
| 2029 | 87 | 61.2003 | 58.1413 | 2029 | 62 | 6.2 | 5.8901
| 2030 | 87 | 61.2003 | 58.1413 | 2030 | 63 | 6.3 | 5.9851
| 2031 | 87 | 61.2003 | 58.1413 | 2031 | 63 | 6.3 | 5.9851
| 2032 | 87 | 61.2003 | 58.1413 | 2032 | 63 | 6.3 | 5.9851
| 2033 | 87 | 61.2003 | 58.1413 | 2033 | 63 | 6.3 | 5.9851
| 2034 | 87 | 61.2003 | 58.1413 | 2034 | 63 | 6.3 | 5.9851
| 2035 | 87 | 61.2003 | 58.1413 | 2035 | 63 | 6.3 | 5.9851
| 2036 | 87 | 61.2003 | 58.1413 | 2036 | 63 | 6.3 | 5.9851
| 2037 | 87 | 61.2003 | 58.1413 | 2037 | 63 | 6.3 | 5.9851
| 2038 | 87 | 61.2003 | 58.1413 | 2038 | 63 | 6.3 | 5.9851
| 2039 | 87 | 61.2003 | 58.1413 | 2039 | 63 | 6.3 | 5.9851
| 2040 | 87 | 61.2003 | 58.1413 | 2040 | 63 | 6.3 | 5.9851
| 2041 | 87 | 61.2003 | 58.1413 | 2041 | 63 | 6.3 | 5.9851
| 2042 | 87 | 61.2003 | 58.1413 | 2042 | 63 | 6.3 | 5.9851
| 2043 | 87 | 61.2003 | 58.1413 | 2043 | 63 | 6.3 | 5.9851
| 2044 | 87 | 61.2003 | 58.1413 | 2044 | 63 | 6.3 | 5.9851
| 2045 | 87 | 61.2003 | 58.1413 | 2045 | 63 | 6.3 | 5.9851
| 2046 | 87 | 61.2003 | 58.1413 | 2046 | 63 | 6.3 | 5.9851
| 2047 | 87 | 61.2003 | 58.1413 | 2047 | 63 | 6.3 | 5.9851
| 2048 | 87 | 61.2003 | 58.1413 | 2048 | 63 | 6.3 | 5.9851
| 2049 | 87 | 61.2003 | 58.1413 | 2049 | 63 | 6.3 | 5.9851
| 2050 | 87 | 61.2003 | 58.1413 | 2050 | 63 | 6.3 | 5.9851
| Source: BEIS |  |  |  | Source: BEIS

## Hydrogen fuel prices
Back to Contents
| Hydrogen generation via methane reformation | [6 empty] | Hydrogen generation via electrolysis
[15 empty] | Electrolyser capacity by scenario (MW) [1] | [6 empty] | Electrolyserload factor by scenario (%) | [6 empty] | Electrolysed hydrogen price (2016£/MWh)
|  | CAPEX (2016£/MW) | 2018 BEIS central gas price (2016£/MWh) | Conversion efficiency (%) | H2 fuel price (2016£/MWh) |  |  |  | CAPEX (2016£/MW) | Assumed electricity price (2016£/MWh) | Conversion efficiency (%) |  |  |  | Hydrogen/Greener Gas: 1 MtCO2e |  |  | Heat electrification: 2.9 MtCO2e |  |  |  | Hydrogen/Greener Gas: 1 MtCO2e |  |  | Heat electrification: 2.9 MtCO2e |  |  |  | Hydrogen/Greener Gas: 1 MtCO2e |  |  | Heat electrification: 2.9 MtCO2e
[6 empty] | Hydrogen conversion assumptions | [5 empty] | Hydrogen conversion assumptions |  |  | 60% RES | 80% RES | 90% RES | 60% RES | 80% RES | 90% RES |  | 60% RES | 80% RES | 90% RES | 60% RES | 80% RES | 90% RES |  | 60% RES | 80% RES | 90% RES | 60% RES | 80% RES | 90% RES
| 2030 | 414556.6 | 20.41 | 0.71 | 32.81 | Gas reformer technology | GHR (LCH), 370 MW HHV | 2030 | 460757.83 | 4.75 | 69% | Electrolyser technology | Alkaline | 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 2030 | 0% | 0% | 0% | 0% | 0% | 0% | 2030 | - | - | - | - | - | -
| 2031 | 409451 | 20.41 | 0.73 | 32.29 | Lifetime (years) | 40 | 2031 | 458857.79 | 4.75 | 70% | Lifetime (years) | 30 | 2031 | 0.08 | 0.07 | 0.05 | 0.11 | 0.12 | 0.13 | 2031 | 3% | 4% | 4% | 3% | 7% | 6% | 2031 | 276.4 | 190.25 | 193.43 | 208.8 | 105.43 | 115.32
| 2032 | 404345.4 | 20.41 | 0.74 | 31.78 | Capture rate (%) | 0.9 | 2032 | 456957.76 | 4.75 | 70% | 2025 conversion efficiency (%) | 67% | 2032 | 0.17 | 0.14 | 0.1 | 0.22 | 0.24 | 0.26 | 2032 | 5% | 8% | 8% | 7% | 14% | 13% | 2032 | 141.42 | 98.39 | 99.98 | 107.66 | 56.02 | 60.96
| 2033 | 399239.8 | 20.41 | 0.75 | 31.29 | 2025 conversion efficiency (%) | 0.65 | 2033 | 455057.73 | 4.75 | 71% | 2040 conversion efficiency (%) | 70% | 2033 | 0.25 | 0.21 | 0.15 | 0.33 | 0.36 | 0.39 | 2033 | 8% | 11% | 11% | 10% | 21% | 19% | 2033 | 96.39 | 67.74 | 68.8 | 73.91 | 39.52 | 42.81
| 2034 | 394134.19 | 20.41 | 0.77 | 30.82 | 2040 conversion efficiency (%) | 0.844 | 2034 | 453157.7 | 4.75 | 71% | FOM (2018£/MW) | 48500 | 2034 | 0.34 | 0.29 | 0.2 | 0.43 | 0.48 | 0.52 | 2034 | 10% | 15% | 15% | 14% | 28% | 26% | 2034 | 73.86 | 52.39 | 53.18 | 57.01 | 31.25 | 33.72
| 2035 | 389028.59 | 20.41 | 0.78 | 30.36 | FOM (2018£/MW) | 24407.8712 | 2035 | 451257.66 | 4.75 | 72% |  |  | 2035 | 0.34 | 0.29 | 0.2 | 0.43 | 0.48 | 0.52 | 2035 | 10% | 15% | 15% | 14% | 28% | 26% | 2035 | 73.75 | 52.3 | 53.09 | 56.92 | 31.18 | 33.64
| 2036 | 384237.39 | 20.41 | 0.79 | 29.92 |  |  | 2036 | 449357.63 | 4.75 | 72% | 2040 emissions intensity (gCO2/kWh) | 0 | 2036 | 0.35 | 0.31 | 0.25 | 0.45 | 0.56 | 287.22 | 2036 | 16% | 18% | 17% | 18% | 28% | 22% | 2036 | 51.22 | 44.86 | 48.33 | 45.71 | 31.86 | 37.99
| 2037 | 379446.18 | 20.41 | 0.81 | 29.49 | 2040 emissions intensity (gCO2/kWh) | 21.9194 | 2037 | 447457.6 | 4.75 | 73% |  |  | 2037 | 0.37 | 0.34 | 0.31 | 0.46 | 0.64 | 573.92 | 2037 | 21% | 21% | 18% | 22% | 27% | 19% | 2037 | 39.96 | 39.47 | 44.43 | 38.55 | 32.59 | 44.06
| 2038 | 374654.98 | 20.41 | 0.82 | 29.04 |  |  | 2038 | 445557.57 | 4.75 | 73% | Source: Element Energy, BEIS, Aurora Energy Research |  | 2038 | 0.38 | 0.36 | 0.37 | 0.47 | 0.72 | 860.62 | 2038 | 26% | 24% | 20% | 26% | 26% | 15% | 2038 | 33.19 | 35.39 | 41.17 | 33.57 | 33.37 | 53.09
| 2039 | 369863.78 | 20.41 | 0.83 | 28.58 | Capacity (MW) | 1 | 2039 | 443657.53 | 4.75 | 74% |  |  | 2039 | 0.39 | 0.39 | 0.42 | 0.48 | 0.8 | 1147.32 | 2039 | 31% | 27% | 22% | 30% | 25% | 11% | 2039 | 28.66 | 32.18 | 38.41 | 29.9 | 34.2 | 67.96
| 2040 | 365072.57 | 20.41 | 0.84 | 28.28 | Load factor (%) | 0.9 | 2040 | 441757.5 | 4.75 | 74% |  |  | 2040 | 0.39 | 0.39 | 0.42 | 0.48 | 0.8 | 1147.32 | 2040 | 31% | 27% | 22% | 30% | 25% | 11% | 2040 | 28.61 | 32.12 | 38.35 | 29.84 | 34.14 | 67.86
| 2041 | 360576.41 | 20.41 | 0.84 | 28.26 | Annual H2 production (MWh/y) | 7884 | 2041 | 440807.49 | 4.75 | 74% |  |  | 2041 | 0.37 | 0.46 | 730.37 | 0.47 | 912.14 | 5664.33 | 2041 | 30% | 26% | 20% | 30% | 22% | 13% | 2041 | 29.39 | 33.27 | 41.94 | 29.91 | 38.15 | 60.03
| 2042 | 356080.24 | 20.41 | 0.84 | 28.25 |  |  | 2042 | 439857.47 | 4.75 | 74% |  |  | 2042 | 0.36 | 0.53 | 1460.32 | 0.46 | 1823.47 | 10181.33 | 2042 | 29% | 25% | 17% | 29% | 19% | 15% | 2042 | 30.22 | 34.53 | 46.46 | 29.99 | 43.53 | 53.97
| 2043 | 351584.08 | 20.41 | 0.84 | 28.23 | Source: Element Energy, BEIS, Aurora Energy Research |  | 2043 | 438907.45 | 4.75 | 74% |  |  | 2043 | 0.34 | 0.59 | 2190.27 | 0.46 | 2734.8 | 14698.34 | 2043 | 28% | 23% | 15% | 29% | 16% | 16% | 2043 | 31.12 | 35.92 | 52.29 | 30.06 | 51.11 | 49.13
| 2044 | 347087.91 | 20.41 | 0.84 | 28.22 |  |  | 2044 | 437957.44 | 4.75 | 74% |  |  | 2044 | 0.32 | 0.66 | 2920.22 | 0.45 | 3646.14 | 19215.35 | 2044 | 27% | 22% | 13% | 29% | 12% | 18% | 2044 | 32.1 | 37.45 | 60.13 | 30.13 | 62.59 | 45.18
| 2045 | 342591.74 | 20.41 | 0.84 | 28.21 |  |  | 2045 | 437007.42 | 4.75 | 74% |  |  | 2045 | 0.32 | 0.66 | 2920.22 | 0.45 | 3646.14 | 19215.35 | 2045 | 27% | 22% | 13% | 29% | 12% | 18% | 2045 | 32.08 | 37.44 | 60.1 | 30.12 | 62.56 | 45.16
| 2046 | 338372.45 | 20.41 | 0.84 | 28.19 |  |  | 2046 | 436057.41 | 4.75 | 74% |  |  | 2046 | 0.36 | 1273.97 | 8031.5 | 0.49 | 5335.71 | 23219.38 | 2046 | 27% | 20% | 15% | 30% | 13% | 19% | 2046 | 32.43 | 40.49 | 52.64 | 29.8 | 59 | 42.12
| 2047 | 334153.15 | 20.41 | 0.84 | 28.18 |  |  | 2047 | 435107.39 | 4.75 | 74% |  |  | 2047 | 0.39 | 2547.28 | 13142.79 | 0.52 | 7025.28 | 27223.41 | 2047 | 26% | 18% | 17% | 30% | 14% | 21% | 2047 | 32.78 | 44.22 | 46.99 | 29.49 | 55.86 | 39.51
| 2048 | 328879.03 | 20.41 | 0.84 | 28.16 |  |  | 2048 | 433919.87 | 4.75 | 74% |  |  | 2048 | 0.43 | 3820.6 | 18254.08 | 0.56 | 8714.86 | 31227.44 | 2048 | 26% | 16% | 19% | 30% | 15% | 22% | 2048 | 33.14 | 48.87 | 42.57 | 29.18 | 53.06 | 37.26
| 2049 | 321846.87 | 20.41 | 0.84 | 28.14 |  |  | 2049 | 432336.51 | 4.75 | 74% |  |  | 2049 | 0.46 | 5093.91 | 23365.36 | 0.6 | 10404.43 | 35231.48 | 2049 | 25% | 14% | 21% | 31% | 16% | 24% | 2049 | 33.5 | 54.81 | 39 | 28.88 | 50.55 | 35.28
| 2050 | 321495.26 | 20.41 | 0.84 | 28.14 |  |  | 2050 | 432257.34 | 4.75 | 74% |  |  | 2050 | 0.46 | 5093.91 | 23365.36 | 0.6 | 10404.43 | 35231.48 | 2050 | 25% | 14% | 21% | 31% | 16% | 24% | 2050 | 33.5 | 54.81 | 39 | 28.88 | 50.55 | 35.28
| Source: Element Energy, BEIS, Aurora Energy Research | [6 empty] | Source: Element Energy, BEIS, Aurora Energy Research | [5 empty] | Source: Aurora Energy Research | [6 empty] | Source: Aurora Energy Research | [6 empty] | Source: Aurora Energy Research

## Technology Assumptions
Back to Contents
This sheet is intentionally left blank.

## Nuclear
Back to Contents
|  | NIC nuclear retirement timeline | New build
| Plant |  | Proposed project | Lead developer | Indicative reactor | Indicative capacity (MW) | Assumed commissioning year
| Dungeness B | 2028 | Hinkley Point C | EDF | 2 × EPR | 3340 | 2027
| Hartlepool | 2024 | Any additional nuclear will only enter endogenously
| Heysham I | 2024 | Source: NIC
| Heysham II | 2030
| Hinkley Point B | 2023
| Torness | 2030
| Hunterston B | 2023
| Sizewell B | 2055
Source: NIC

## Interconnectors
Back to Contents
| Project window | Project | Status | Country | Capacity (GW) | NIC commissioning year | Notes |  | Total Capacity (GW)
|  | IFA | Existing | France | 2 | 1986 |  | Baseline case | 17.9
|  | Moyle | Existing | Northern Ireland | 0.5 | 2001 |  | Sensitivity case | 8.4
|  | BritNed | Existing | Netherlands | 1 | 2011 |  | Source: NIC
|  | East-West | Existing | Ireland | 0.5 | 2012
|  | ElecLink | Proposed | France | 1 | 2019
|  | NEMO | Proposed | Belgium | 1 | 2019
| 1 | Viking Link | Proposed | Denmark | 1.4 | 2022
| 1 | IFA 2 | Proposed | France | 1 | 2020
| 1 | FAB | Proposed | France | 1.4 | 2022
| 2 | Gridlink | Proposed | France | 1.4 | 2022
|  | Aquind | Proposed | France | 2 | 2022 | Considered alongside window 2 projects
| 2 | Neuconnect | Proposed | Germany | 1.4 | 2022
| 1 | Greenlink | Proposed | Ireland | 0.5 | 2021
| 1 | NSL | Proposed | Norway | 1.4 | 2022
| 2 | NorthConnect | Proposed | Norway | 1.4 | 2022
| Source: NIC, Ofgem |  |  |  | 17.9

## EVs
Back to Contents
EV fleet assumptions
| Year | Fleet (%) | Cars + Vans (millions) | EV cars (millions) | EV vans (millions) | EV cars and vans (millions) | Sales (%)
| 2020 | 1.758% | 36.4061 | 0.57 | 0.07 | 0.64 | 10%
| 2021 | 3.032% | 37.2706 | 1.01 | 0.12 | 1.13 | 18%
| 2022 | 4.79% | 37.7894 | 1.62 | 0.19 | 1.81 | 28%
| 2023 | 7.382% | 38.3343 | 2.54 | 0.29 | 2.83 | 42%
| 2024 | 10.87% | 38.9015 | 3.8 | 0.43 | 4.23 | 58%
| 2025 | 15.15% | 39.4811 | 5.37 | 0.61 | 5.98 | 72%
| 2026 | 19.94% | 40.0636 | 7.18 | 0.81 | 7.99 | 82%
| 2027 | 25.6% | 40.6659 | 9.36 | 1.05 | 10.41 | 90%
| 2028 | 31.38% | 41.2741 | 11.64 | 1.31 | 12.95 | 94%
| 2029 | 37.96% | 41.8887 | 14.27 | 1.63 | 15.9 | 98%
| 2030 | 45.1% | 42.5031 | 17.15 | 2.02 | 19.17 | 100%
| 2031 | 52.26% | 43.11 | 20.12 | 2.41 | 22.53 | 100%
| 2032 | 58.85% | 43.703 | 22.92 | 2.8 | 25.72 | 100%
| 2033 | 67.72% | 44.2875 | 26.72 | 3.27 | 29.99 | 100%
| 2034 | 76.36% | 44.8658 | 30.52 | 3.74 | 34.26 | 100%
| 2035 | 81.99% | 45.4305 | 33.21 | 4.04 | 37.25 | 100%
| 2036 | 87.11% | 45.9776 | 35.72 | 4.33 | 40.05 | 100%
| 2037 | 90.91% | 46.5204 | 37.73 | 4.56 | 42.29 | 100%
| 2038 | 93.98% | 47.044 | 39.45 | 4.76 | 44.21 | 100%
| 2039 | 96.2% | 47.5475 | 40.83 | 4.91 | 45.74 | 100%
| 2040 | 97.69% | 48.0276 | 41.88 | 5.04 | 46.92 | 100%
| 2041 | 98.62% | 48.481 | 42.68 | 5.13 | 47.81 | 100%
| 2042 | 99.19% | 48.8948 | 43.3 | 5.2 | 48.5 | 100%
| 2043 | 99.52% | 49.2777 | 43.78 | 5.26 | 49.04 | 100%
| 2044 | 99.74% | 49.6186 | 44.18 | 5.31 | 49.49 | 100%
| 2045 | 99.86% | 49.9279 | 44.51 | 5.35 | 49.86 | 100%
| 2046 | 99.91% | 50.2145 | 44.79 | 5.38 | 50.17 | 100%
| 2047 | 99.94% | 50.4788 | 45.04 | 5.41 | 50.45 | 100%
| 2048 | 99.99% | 50.7161 | 45.27 | 5.44 | 50.71 | 100%
| 2049 | 99.99% | 50.9358 | 45.47 | 5.46 | 50.93 | 100%
| 2050 | 99.99% | 51.1347 | 45.65 | 5.48 | 51.13 | 100%
Source: Aurora Energy Research, NIC

## Renewable & nuclear costs
Back to Contents
|  | Aurora Capex (2016£/kW) |  |  |  | Aurora OPEX (2016£/kW/year) |  |  |  | Capex (2016£/kW) | Fixed OPEX (2016£/kW/year) | Variable OPEX (2016£/kW/year)
| Year | Onshore wind | Offshore wind | Solar PV (Farm) | Year | Onshore wind | Offshore wind | Solar PV (Farm) | Year | Nuclear | Nuclear | Nuclear
| 2020 | 984.22 | 1830.68 | 536.76 | 2020 | 48.07 | 74.67 | 13.78 | 2020 | 4181.97 | 67.74 | 2.47
| 2025 | 927.22 | 1636.88 | 403.76 | 2025 | 47.31 | 47.88 | 12.73 | 2025 | 4181.97 | 67.74 | 2.47
| 2030 | 890.17 | 1477.28 | 361.01 | 2030 | 46.74 | 42.18 | 11.69 | 2030 | 4181.97 | 67.74 | 2.47
| 2035 | 869.26 | 1425.97 | 341.06 | 2035 | 46.27 | 41.52 | 10.83 | 2035 | 4181.97 | 67.74 | 2.47
| 2040 | 859.76 | 1376.57 | 323.01 | 2040 | 45.89 | 40.95 | 10.07 | 2040 | 4181.97 | 67.74 | 2.47
| 2045 | 851.21 | 1329.07 | 306.86 | 2045 | 45.41 | 40.28 | 9.41 | 2045 | 4181.97 | 67.74 | 2.47
| 2050 | 842.66 | 1283.47 | 290.7 | 2050 | 45.03 | 39.71 | 8.84 | 2050 | 4181.97 | 67.74 | 2.47
| Source: Aurora Energy Research |  |  |  | Source: Aurora Energy Research |  |  |  | Source: BEIS, Aurora Energy Research

## Storage costs
Back to Contents
|  | Li-Ion Capex 2016£/kW |  |  |  |  | Flow battery Capex (2016£/kW) |  | Operational parameters
| Year | 4h | 2h | 1h | 0.5h | Year | 5h |  | Efficiency (%) | Lifetime (years) | Fixed O&M (2016£/MW)
| 2020 | 919.62 | 568.11 | 402.81 | 308.76 | 2020 | 2122.2 | Li-ion 4 hour | 90% | 10 | 11963.19
| 2025 | 734.36 | 463.61 | 336.31 | 262.2 | 2025 | 1737.8 | Li-ion 2 hour | 90% | 10 | 11963.19
| 2030 | 649.81 | 414.21 | 303.06 | 238.45 | 2030 | 1542.23 | Li-ion 1 hour | 90% | 10 | 11963.19
| 2035 | 606.11 | 387.61 | 285 | 225.15 | 2035 | 1441.96 | Li-ion 0.5 hour | 90% | 10 | 11963.19
| 2040 | 578.56 | 369.56 | 272.65 | 215.65 | 2040 | 1388.12 | Redox flow 5hr | 70% | 25 | 11963.19
| 2045 | 578.56 | 369.56 | 272.65 | 215.65 | 2045 | 1339.48
| 2050 | 578.56 | 369.56 | 272.65 | 215.65 | 2050 | 1291.13
| Source: Aurora Energy Research |  |  |  |  | Source: Aurora Energy Research

## CCS
Back to Contents
|  | CAPEX (2016£/kW) |  |  |  | Operational parameters
|  | Gas CCS | Biomass with CCS |  |  | Efficiency (%) | Lifetime (years) | Fixed O&M (2016£/MW) | Variable O&M (2016£/MWh)
| 2020 | 2213.54 | 6998.67 | Gas CCS | 2015 | 46% | 25 | 34959.64 | 3.71
| 2025 | 1957.03 | 6851.65 |  | 2025 | 49% | 25 | 23518.6 | 2.66
| 2030 | 1691.03 | 6704.62 |  | 2030 | 50% | 25 | 22883.04 | 2.57
| 2035 | 1586.53 | 6557.6 |  |  |  |  | 0 | 0
| 2040 | 1539.03 | 6411.59 |  |  |  |  | 0 | 0
| 2045 | 1453.52 | 6264.56 | Biomass with CCS | 2015 | 27% | 25 | 161502.74 | 4.28
| 2050 | 1377.52 | 6117.54 |  | 2025 | 27% | 25 | 161502.74 | 4.28
| Source: Aurora Energy Research, BEIS |  |  |  | 2030 | 27% | 25 | 161502.74 | 4.28
Source: Aurora Energy Research
Source: Aurora Energy Research, BEIS
Carbon transport and storage costs
|  |  |  | Capex | £150/tCO2/year
|  |  |  | Opex | £17.50/tCO2/year
Source: Element Energy

## Hydrogen turbines
Back to Contents
Operational parameters
|  | Hydrogen turbine CAPEX (2016£/kW) |  | Efficiency (%) | Lifetime (years) | Fixed O&M (2016£/MW) | Variable O&M (2016£/MWh) | Ramp rate (% capacity per hour)
| 2020 | 700 | 2020 - 2050 | 50% | 25 | 25000 | 1 | 52%
| 2025 | 700 | Source: Aurora Energy Research, NIC
| 2030 | 700
| 2035 | 700
| 2040 | 700
| 2045 | 700
| 2050 | 700
Source: Aurora Energy Research, NIC

## Discount rates
Back to Contents
|  | Merchant discount rate (%) | Contracted revenue stream discount rate (%)
| Batteries | 11% | 6%
| Demand side response | 9% | 6%
| Gas recip | 11% | 6%
| OCGT | 11% | 6%
| Coal | 9% | 6%
| CCGT | 9% | 6%
| Nuclear | 9% | 6%
| Offshore wind | 9% | 6%
| Onshore wind | 9% | 6%
| Solar PV | 9% | 6%
Source: Aurora Energy Research
Note: Specific hurdle rates/discount rates are not assumed for each technology. Instead, the model discounts revenue streams at different rates and technologies economically build within the model when the Net Present Value (NPV) is greater than zero.

## Inflation
Back to Contents
Inflation assumed
| Assumed annual inflation (post 2018) |  | 3%
| Year | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| UK inflation (2016 base year) | 0.84396 | 0.88164 | 0.90657 | 0.92983 | 0.94341 | 0.94379 | 0.95002 | 0.97551 | 1 | 1.0217 | 1.0422 | 1.063 | 1.0843 | 1.106 | 1.1281 | 1.1507 | 1.1852 | 1.2207 | 1.2574 | 1.2951 | 1.3339 | 1.374 | 1.4152 | 1.4576 | 1.5014 | 1.5464 | 1.5928 | 1.6406 | 1.6898 | 1.7405 | 1.7927 | 1.8465 | 1.9019 | 1.9589 | 2.0177 | 2.0782 | 2.1406 | 2.2048 | 2.2709 | 2.3391 | 2.4092
| Source | IMF | IMF | IMF | IMF | IMF | IMF | IMF | IMF | IMF | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER | AER
| Source: | 2010: Inflation (IMF January 2019)
End